STAGE B-2C · 30日递推IPM实验

# 阶段B-2C：30日递推IPM实验报告

第1—30日 · 日内联合块递推 · 无完整KKT审计

运行标识： 20260811_155000_stage_B_2C_30day_full_final

阶段： stage_B / B-2C 30日实验

Git 提交： 4168a6e9fd8b7f6984f40001b1cf004fcee950e6

报告生成时 manifest： PASS

事实推导候选终态： 30日已收敛

实验结论 第1—30日递推原始—对偶IPM已满足四项停止判据；本次全程未装配、未求解完整KKT审计系统，方向有效性由每轮重构KKT残差门禁保证。

# 1. 实验边界与算法口径

计算范围为第1—30日，每日24小时；各日储能初末SOC均为0.5E，日期之间不连接SOC。采用全不等式消元、30个日内联合块和16维全局核心的递推Newton方向。保留水量约束精确二阶松弛校正、独立原始/对偶步长及原四项收敛阈值。某日日块局部残差超过1e-10时，最多复用原LDL因子做3次残差校正，不重新分解。完整KKT仅作为维数概念记录，本实验没有装配、求解或计时完整KKT，也没有用完整方向兜底。正式七日流程、火电第二次求解和Stage C1均未改变。

# 2. 规模与耗时

| 规模/耗时项目 | 实际值 |
| --- | --- |
| days | 30 |
| hours_per_day | 24 |
| primal_variables | 15910 |
| equalities | 2642 |
| base_inequalities | 30980 |
| water_inequalities | 240 |
| total_inequalities | 31220 |
| reconstructed_full_kkt_dimension | 80992 |
| daily_joint_block_count | 30 |
| global_core_dimension | 16 |
| fixed_zero_count | 1804 |
| index_build_seconds | 22.5330829 |
| preparation_seconds | 48.737884600000001 |

| 项目 | 实际值 |
| --- | --- |
| 接受迭代次数 | 31 |
| 纯IPM数值计算秒数 | 473.21537380000001 |
| 迭代循环墙钟秒数（含逐步证据写出） | 538.52712220000001 |
| 逐步证据写出及循环管理秒数 | 65.311748399999999 |
| 递推方向内核累计秒数 | 10.972364600000001 |
| 迭代内线性化装配累计秒数 | 388.6735786000001 |
| 完整KKT审计秒数 | 0 |
| 是否执行完整KKT审计 | false |

# 3. 收敛轨迹（最后10次迭代）

| 迭代 | 等式残差 | 不等式残差 | 对偶残差 | 平均互补隙 | 原始步长 | 对偶步长 | 重构KKT残差 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 22 | 3.840411409328226e-06 | 0.88799858914895258 | 5.1466486978520021e-05 | 0.063614982867730208 | 0.042127461387117163 | 0.11263978082401889 | 7.0938308459776969e-13 |
| 23 | 3.4621898521436378e-06 | 0.80054341718826849 | 3.9876499831267842e-05 | 0.060641293344861236 | 0.098485710483504338 | 0.041419204150760856 | 6.8754986090170102e-13 |
| 24 | 3.3596706998650916e-06 | 0.77683915318089103 | 7.5767970952947405e-05 | 0.048055732624974 | 0.029610216633388111 | 0.28398146412574482 | 1.0486952003439628e-12 |
| 25 | 2.1030909920227714e-06 | 0.48628665118124537 | 2.4136864825750198e-05 | 0.041507648988592161 | 0.37401886968484066 | 0.087244962167819545 | 1.8649091425553441e-12 |
| 26 | 2.0728220988530666e-06 | 0.47928776980444643 | 1.3357787894283102e-05 | 0.024795576548660075 | 0.014392501541627602 | 0.45139229558209509 | 7.867790423816459e-12 |
| 27 | 1.0075009413412772e-06 | 0.23295927629405822 | 5.6337774159836984e-06 | 0.002546636981906008 | 0.51394696261682693 | 0.99950000000000006 | 1.1550422126111392e-12 |
| 28 | 2.7166606741957366e-08 | 0.0062815662903805691 | 2.039860933754638e-07 | 0.0002559532324459754 | 0.97303577522085227 | 0.99950000000000006 | 1.0408002764784845e-11 |
| 29 | 1.4551915228366852e-11 | 3.1407831451168988e-06 | 1.5008974663459319e-08 | 2.5710284705723081e-05 | 0.99950000000000006 | 0.99950000000000006 | 1.0849495539242632e-11 |
| 30 | 4.5474735088646412e-12 | 1.5703913724962604e-09 | 1.3614281796962916e-09 | 2.5825794494577975e-06 | 0.99950000000000006 | 0.99950000000000006 | 1.0750569358409849e-11 |
| 31 | 4.5474735088646412e-12 | 9.0949470177292824e-13 | 1.2245016681823929e-10 | 2.5941858921630775e-07 | 0.99950000000000006 | 0.99950000000000006 | 1.1752538128386851e-11 |

# 4. 日块数值诊断

| 日 | 分解次数 | 最小绝对主元 | 最大右端相对残差 | 零主元次数 |
| --- | --- | --- | --- | --- |
| 1 | 31 | 1.1445702814282181e-05 | 8.7817307003415577e-12 | 0 |
| 2 | 31 | 1.2039421047423624e-05 | 2.9917240730784433e-12 | 0 |
| 3 | 31 | 2.0015660829612701e-05 | 4.0548683367387833e-12 | 0 |
| 4 | 31 | 1.2564671710501437e-05 | 2.7408287677873428e-12 | 0 |
| 5 | 31 | 1.7741563587630146e-05 | 3.2660961397460896e-12 | 0 |
| 6 | 31 | 2.6291756689834502e-05 | 5.0949503480614045e-12 | 0 |
| 7 | 31 | 2.7345861349360757e-05 | 3.3030817049541526e-12 | 0 |
| 8 | 31 | 6.4934847925887401e-06 | 3.7780866284333183e-12 | 0 |
| 9 | 31 | 4.470858178481369e-05 | 2.8607427609252268e-12 | 0 |
| 10 | 31 | 2.9496283986213167e-05 | 2.8890227048585415e-12 | 0 |
| 11 | 31 | 2.0327505573106309e-05 | 3.5685273093689853e-12 | 0 |
| 12 | 31 | 4.6409147461268286e-06 | 2.6185627333848109e-12 | 0 |
| 13 | 31 | 4.1530529807263189e-05 | 3.1316621773577552e-12 | 0 |
| 14 | 31 | 3.0776031314708799e-05 | 3.7457532798879881e-12 | 0 |
| 15 | 31 | 2.1193314770896023e-05 | 3.8747815556255231e-12 | 0 |
| 16 | 31 | 5.3255137926913378e-05 | 2.2979516847340467e-12 | 0 |
| 17 | 31 | 3.2023598355576182e-05 | 3.1280537762607811e-12 | 0 |
| 18 | 31 | 6.7103106872588773e-06 | 4.2118215370526748e-12 | 0 |
| 19 | 31 | 2.0662080821167077e-05 | 3.4555278815083616e-12 | 0 |
| 20 | 31 | 9.4144200663190601e-06 | 3.7820668985132637e-12 | 0 |
| 21 | 31 | 4.2175404201886143e-05 | 2.1050439710760021e-12 | 0 |
| 22 | 31 | 2.5434876945261797e-05 | 4.1631925612468303e-12 | 0 |
| 23 | 31 | 8.7783751471909062e-06 | 2.9925413282070984e-12 | 0 |
| 24 | 31 | 3.3987696220783847e-14 | 6.4300775209957066e-11 | 1 |
| 25 | 31 | 1.6578737786811933e-05 | 2.4589131976084863e-12 | 0 |
| 26 | 31 | 3.8231281844891379e-05 | 2.3203346579626013e-12 | 0 |
| 27 | 31 | 1.4457835433841729e-05 | 2.6989026211967815e-12 | 0 |
| 28 | 31 | 2.0306830332951933e-05 | 3.2722170807198755e-12 | 0 |
| 29 | 31 | 5.0026481581685203e-06 | 4.932722676542304e-12 | 0 |
| 30 | 31 | 1.3831660857745836e-05 | 2.9552043184967555e-12 | 0 |

日块局部弱主元只作为诊断；真正的方向接受条件仍是完整方向代回共享线性化对象后的重构KKT相对残差不超过1e-10。

# 5. 容量规划结果

| 序号 | 容量变量 | 值 |
| --- | --- | --- |
| 1 | QW1 | 1679.9999998019744 |
| 2 | QW2 | 1029.9999997429384 |
| 3 | QW3 | 1279.9999997183779 |
| 4 | QW4 | 949.99999977574737 |
| 5 | QW5 | 1059.9999997501218 |
| 6 | QP1 | 1136.0000004105921 |
| 7 | QP2 | 1080.0000004079488 |
| 8 | QP3 | 960.00000039107988 |
| 9 | QP4 | 840.0000003879054 |
| 10 | QP5 | 784.00000036005156 |
| 11 | QS1 | 299.99999719922471 |
| 12 | QS2 | 293.94446129384835 |
| 13 | ES1 | 599.99999439844942 |
| 14 | ES2 | 587.8889225876967 |

# 6. 各类电源每日发电量

| 日 | 风电MWh | 光伏MWh | 水电MWh | 火电MWh | 充电MWh | 放电MWh | 总发电MWh |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 59697.080561119212 | 20487.817720410396 | 5029.7014746087543 | 41126.50792623814 | 4637.4088546132043 | 3756.3011722366923 | 126341.10768237649 |
| 2 | 40391.352878257763 | 25390.744294222888 | 5047.0290322756355 | 41099.945518455963 | 5468.798543222294 | 4429.7268200100571 | 111929.07172321226 |
| 3 | 46701.103057354871 | 21729.951254233823 | 5038.1700376401413 | 43589.053079988691 | 4201.460153776281 | 3403.1827245587874 | 117058.27742921753 |
| 4 | 44860.328077245715 | 24125.738236197092 | 5093.0524108189738 | 41156.02163473703 | 4974.4229420990259 | 4029.2825831002115 | 115235.1403589988 |
| 5 | 47360.433490664778 | 6541.7471259896192 | 5041.9875158915074 | 40564.572985518738 | 5677.5848319191227 | 4598.8437138544887 | 99508.741118064645 |
| 6 | 90198.138105788894 | 6771.2880511813037 | 5107.7113026692623 | 41086.80557341173 | 5547.0685950064862 | 4493.1255619552558 | 143163.94303305118 |
| 7 | 119409.56552583083 | 4205.6487685727861 | 5043.9306516619654 | 42554.27036744143 | 6281.1332289843067 | 5087.7179154772875 | 171213.41531350702 |
| 8 | 63332.788879667263 | 7237.7909907962239 | 5001.5940476625992 | 42715.448831637448 | 5408.5407882290901 | 4380.9180384655619 | 118287.62274976354 |
| 9 | 65276.643733469602 | 5745.3900859020277 | 5092.1269082524941 | 42571.056888933621 | 6343.2506134619207 | 5138.0329969041568 | 118685.21761655775 |
| 10 | 79455.602534345278 | 6998.0896224569551 | 5068.6723968953793 | 42188.094496349084 | 5844.5213160353587 | 4734.0622659886421 | 133710.45905004669 |
| 11 | 117504.92502211503 | 10315.558077875145 | 5058.3507705357961 | 43219.189014648116 | 5989.5941324953437 | 4851.5712473212279 | 176098.02288517408 |
| 12 | 79659.163660348437 | 23741.436045028637 | 5038.3533105012457 | 40994.683903162455 | 5440.1943107411907 | 4406.5573917003649 | 149433.63691904076 |
| 13 | 21988.364222196451 | 21637.935287646593 | 5082.8306279431781 | 43604.829668911516 | 5547.1568773566587 | 4493.1970706588909 | 92313.959806697734 |
| 14 | 17336.452400653165 | 19000.435272607752 | 5013.2872975152732 | 43421.624727371644 | 5430.5247270939026 | 4398.7250289460617 | 84771.799698147835 |
| 15 | 14215.81636973674 | 20115.951142787104 | 5060.4694639327263 | 43471.328227124308 | 4755.6063346361661 | 3852.0411310552954 | 82863.565203580889 |
| 16 | 9322.8341279348224 | 6520.8748137568427 | 5029.3565042893142 | 40840.1194187949 | 6700.9729725046709 | 5427.7881077287793 | 61713.184864775874 |
| 17 | 108982.14688912337 | 4487.7436561872446 | 5004.9015249379654 | 42191.878465224785 | 6245.6343972282348 | 5058.963861754869 | 160666.67053547336 |
| 18 | 68168.210224539871 | 23381.93170656851 | 5034.5446077504876 | 40819.7374996094 | 5128.5475708853401 | 4154.1235324171248 | 137404.42403846828 |
| 19 | 26214.451911140834 | 22146.71850238986 | 5027.2853504509822 | 42346.691848829047 | 4869.1979621618202 | 3944.0503493510769 | 95735.147612810717 |
| 20 | 31770.7880948003 | 15126.916950067223 | 5007.7359897257484 | 40791.043865741507 | 5665.7100017620824 | 4589.225101427287 | 92696.484900334777 |
| 21 | 7800.1734277362057 | 7111.5078588068382 | 5016.4828550396142 | 40868.491459756639 | 6561.3452702068307 | 5314.6896688675324 | 60796.655601339298 |
| 22 | 31586.812430109785 | 15740.040393164101 | 5058.801801702838 | 42784.220171778798 | 5051.9726145027798 | 4092.0978177472534 | 95169.874796755525 |
| 23 | 37143.378758018254 | 22393.401215145215 | 5049.6433939678836 | 41254.192848700106 | 5582.1906096391613 | 4521.5743938077203 | 105840.61621583145 |
| 24 | 109866.42999021232 | 6852.6049454487074 | 5029.1369672261935 | 42582.697474625078 | 6004.575671117138 | 4863.7062936048796 | 164330.86937751231 |
| 25 | 45678.728885712633 | 5891.7136032264498 | 5066.2401540594428 | 40572.73441086628 | 4312.7213361305112 | 3493.3042822657117 | 97209.417053864803 |
| 26 | 22037.964914154483 | 8180.4406426445594 | 4990.988925192245 | 41930.692687551877 | 6316.2482607534521 | 5116.1610912102988 | 77140.087169543171 |
| 27 | 13532.194584789089 | 10691.453850111011 | 5019.1724295619379 | 42281.260804395315 | 5337.2719413544482 | 4323.1902724971042 | 71524.081668857354 |
| 28 | 109437.7297252072 | 16203.124304050787 | 5047.8048314778744 | 43589.43375288754 | 5411.0137559126779 | 4382.9211422892713 | 174278.09261362339 |
| 29 | 43382.771252029626 | 16358.703835053939 | 5092.6894317700871 | 41020.436244802062 | 3813.6882297670018 | 3089.0874661112721 | 105854.6007636557 |
| 30 | 24012.121697697403 | 10733.673527959476 | 5019.0960101144028 | 41265.292051958502 | 5790.438356472333 | 4690.255068742591 | 81030.183287729786 |

# 7. 实验验收

| 检查项 | 要求 | 实际值 | 状态 |
| --- | --- | --- | --- |
| EXP-DATA | 120 water-input rows pass | 120 rows | PASS |
| EXP-INDEX | 15910/2642/31220 and reconstructed dimension 80992 | 15910/2642/31220; reconstructed=80992 | PASS |
| EXP-ROUTE | recursive direction only; reconstructed KKT residual <= 1e-10 | audit=false; worst residual=1.1752538128386851e-11 | PASS |
| EXP-FACTORS | 30 daily LDL solves plus one 16-D core solve per iteration; no refactorization during residual correction | 961 factor records; refinement triggers=5 | PASS |
| EXP-WATER-CORRECTION | 240 exact second-order water-slack corrections per iteration | 7440 correction records | PASS |
| EXP-FIXED-ZERO | 1804 removed renewable entries remain exact zero | 1804 exact zeros | PASS |
| EXP-CONVERGENCE | four stopping metrics <= 1e-6 | converged=true; iterations=31 | PASS |
| EXP-PHYSICAL | if converged, final water and Stage-A physical audit passes | passed=true; max water violation=0 | PASS |

本报告的PASS仅表示独立30日实验按配置完成，不替代也不改写正式第14—20日Stage B验收结论。